## Pricing Form
Pricing Form (BOQ) – Fuel Management System
Tender Ref: T/AQCT/ENG/02/2025
Section | Item No. | Item Description | AQCT Qty | Unit Price (USD) | Total Price (USD) | Include in Grand Total? (Y/N) | Remarks
1. Fixed Fuel Station | 1 | Complete Fuel Management System for Fixed Fuel Station (auto-sum of Items 1-1 to 1-4) | 1 |  | 0 | Y | Do NOT fill this line; price the breakdown below.
1. Fixed Fuel Station | 1-1 | Fuel RFID Controller | 1 |  | 0 | Y | Breakdown of Item (1)
1. Fixed Fuel Station | 1-2 | RFID Readers (WIRELESS) for low flow Fuel Nozzles | 2 |  | 0 | Y
1. Fixed Fuel Station | 1-3 | RFID Readers (WIRELESS) for high flow Fuel camlock | 1 |  | 0 | Y
1. Fixed Fuel Station | 1-4 | Integration with existing flowmeters, dispensers, and ATG | 1 |  | 0 | Y
2. Mobile Fuel Tanker | 2 | Complete Fuel Management System for Mobile Fuel Tanker (auto-sum of Items 2-1 to 2-4) | 1 |  | 0 | Y | Do NOT fill this line; price the breakdown below.
2. Mobile Fuel Tanker | 2-1 | Fuel RFID Controller | 1 |  | 0 | Y | Breakdown of Item (2)
2. Mobile Fuel Tanker | 2-2 | RFID Readers (WIRELESS) for low flow Fuel Nozzles | 1 |  | 0 | Y
2. Mobile Fuel Tanker | 2-3 | RFID Readers (WIRELESS) for high flow Fuel camlock | 1 |  | 0 | Y
2. Mobile Fuel Tanker | 2-4 | Integration with existing fuel tanker flowmeters and dispensers | 1 |  | 0 | Y
3. Emergency Power Station | 3 | Complete Fuel Management System for Emergency Power Station (auto-sum of Items 3-1 to 3-3) | 1 |  | 0 | Y | Do NOT fill this line; price the breakdown below.
3. Emergency Power Station | 3-1 | Fuel RFID Controller | 1 |  | 0 | Y | Breakdown of Item (3)
3. Emergency Power Station | 3-2 | Passive Tags for Emergency Power Station | 2 |  | 0 | Y
3. Emergency Power Station | 3-3 | Integration with existing fuel system and ATG | 1 |  | 0 | Y
4. Tags for Equipment | 4 | RFID Passive Tags (per equipment) |  |  | 0 | Y | Bidder to state required quantity as per Table 1 equipment list.
5. Software | 5 | Fuel Monitoring & Management Server-based Software (lifetime license) | 1 |  | 0 | Y | Include installation, configuration, and user training.
Optional Items (price only if required) | 6 | Input Fuel Flowmeter 4" (for main fuel station & emergency power station) | 2 |  | 0 | N | Optional in case (Item 1-4), and (2-3) are not applicable, and technical justification must be provided
Optional Items (price only if required) | 7 | Output Fuel Flowmeter 4" (for main fuel station & mobile fuel tanker) | 2 |  | 0 | N | Optional in case (Item 1-4), and (2-3) are not applicable, and technical justification must be provided
Optional Items (price only if required) | 8 | TCP/IP Customer Premises Equipment (CPE) |  |  | 0 | N | Optional
Optional Items (price only if required) | 9 | Miscellaneous items (lump sum) |  |  | 0 | N | Any additional items to be added by the Contractor for any missing items
|  |  | Mandatory Subtotal (USD): |  | 0
|  |  | Optional Subtotal (USD): |  | 0
|  |  | Grand Total (Lump Sum, USD): |  | 0
Notes:
1) Currency: USD. Payments will be in EGP equivalent at CBE official rate on payment date.
2) Price the sub-items; the 'Complete FMS' lines auto-sum and should not be manually filled.
3) Optional items (Items 6–9) are for pricing only and are excluded from the Grand Total by default.
4) RFID Passive Tags quantity to be stated by bidder as per Table 1 (equipment list).
5) Prices must be turnkey including supply, installation, commissioning, training, calibration, certification, and handover.
6) Attach detailed breakdowns, datasheets, and any deviation list as per tender requirements.